Supplementary Materials:

Table S1: Magnetic imaging scanning protocol

| Scanning Parameters（3.0T） | T1 weighted imaging | T2 weighted imaging | 3D-SPACE |
| --- | --- | --- | --- |
| TR(ms) | 300 | 9000 | 1000 |
| TE(ms) | 2 | 90 | 135 |
| slice thickness(mm) | 5 | 5 | 0.5 |
| FOV(mm2) | 250 × 250 | 220 × 200 | 200 × 200 |
| matrix | 320 × 320 | 640 × 640 | 384 × 384 |
| Averages | 1 | 1 | 2 |
| bandwidth(Hz/Px) | 330 | 287 | 289 |

3D-SPACE, three-dimensional sampling perfection with application optimized contrasts using different flip angle evolutions; TR, repetition time; TE, echo time; FOV, field of view.