Immune profiling study in subcutaneous CT26 colorectal cancer syngeneic model in BALB/c mice by flow cytometry

1 Material

1.1 Materials and reagents

Table S1. Materials and Reagents

|  | Materials/Reagents | Supplier | Cat# |
| --- | --- | --- | --- |
| 1 | PBS | HyClone | SH30256.01 |
| 2 | Staining Buffer | eBioscience | 00-4222-26 |
| 3 | 100×20 mm Dish | Corning | 430167 |
| 4 | 70 μm Cell Strainer | BD | 352350 |
| 5 | 50 mL Centrifuge Tube | BIOFILM | CFT011500 |
| 6 | MACS C tube | Miltenyi | 130-093-237 |
| 7 | Mouse Fc Block | BD | 553142 |
| 8 | FBS | ExCell Bio | FND500 |
| 9 | RPMI 1640 Medium | Gibco | 22400-089 |
| 10 | Brilliant Stain Buffer | BD | 566349 |
| 11 | Collagenase D | Roche | 11088882001 |
| 12 | Hyaluronidase | Sigma | H3506 |
| 13 | Deoxyribonuclease I | Sigma | DN25-1G |
| 14 | Foxp3/Transcription Factor Staining Buffer Set | eBioscience | 00-5523-00 |
| 15 | 96-well V plate | Axygen | WIPP02280 |

1.2 Equipment

Table S2. Equipment

| # | Equipment | Supplier | Cat# |
| --- | --- | --- | --- |
| 1 | GentleMACS Octo Dissociator with Heaters | Miltenyi | 130-093-235 |
| 2 | Digital water bath oscillator | Changzhou Guohua Application | SHA-B |
| 3 | Centrifuge | Eppendorf | 5810R |
| 4 | Flow Cytometer | Cytek | Aurora |

1.3 Antibodies

Table S3. Antibody

| # | Fluorescein | Antibody | Supplier | Cat# |
| --- | --- | --- | --- | --- |
| 1 | BV421 | Anti-CD69 | Biolegend | 104528 |
| 2 | BV421 | Isotype for Anti-CD69 | Biolegend | 400936 |
| 3 | Pacific Orange | Anti-CD8 | ThermoFisher | MCD0830 |
| 4 | BV605 | Anti-MHCII | BD | 563413 |
| 5 | BV650 | Anti-CD25 | Biolegend | 102038 |
| 6 | BV750 | Anti-CD45 | Biolegend | 103157 |
| 7 | BV785 | Anti-Ly6C | Biolegend | 128041 |
| 8 | AF488 | Anti-CD11c | Biolegend | 117311 |
| 9 | AF532 | Anti-CD11b | ThermoFisher | 58-0112-82 |
| 10 | PE | Anti-Ki67 | eBioscience | 12-5698-82 |
| 11 | PE | Isotype for Anti-Ki67 | eBioscience | 12-4321-82 |
| 12 | PE-DZL594 | Anti-CD49b | Biolegend | 108924 |
| 13 | PE-Cy7 | Anti-FoxP3 | eBioscience | 25-5773-82 |
| 14 | APC | Anti-Ly6G | BD | 560599 |
| 15 | APC-Cy5.5 | Anti-CD4 | ThermoFisher | MCD0419 |
| 16 | Zombie NIR™ | / | Biolegend | 423106 |
| 17 | APC-Cy7 | Anti-CD3 | Biolegend | 100222 |

MSD analysis of cytokines release (IFN-γ, IFN-β, TNF-a, GM-CSF, IL-10, IL-2, IL-4, IL-8, MCP-1) in CT 26 tumor tissue and serum samples

1. Reagents and Equipment

Table S4. Materials and Reagents

| Reagents\Instrument | Vendor | Catalog # |
| --- | --- | --- |
| U-PLEX Biomarker Group1(mouse) Multiplex assays | MSD U-PLEX Platform | K15069M-1 |
| MESO QuickPlex | Meso Scale Discovery | SQ 120 |
| Centrifuge | Eppendorf | 5810R |

Translocation of DAMPs in tumor cell lines

1. Materials

1.1 Cell line

Table S5. Cell line used in this study

| No. | Cell Line | Species | Tissue Origin | Medium | Culture Property | Treatment time |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | H22 | Mouse | liver | RPMI1640+10%FBS | Suspension | 24h or 48h |
| 2 | EMT6 | Mouse | Breast | Waymouth's MB752/1+15%FBS | Adherent | 24h or 48h |
| 3 | CT26 | Mouse | colon | RPMI1640+10%FBS | Adherent | 24h or 48h |

Note: All the cells will be cultured in the medium listed at 37°C, 5% CO2 and 95% humidity. Gently pipetting up and down to avoid cell damage caused by excessive mixing with pipette.

1.2 Materials and Reagents

Table S6. Materials and Reagents

| Reagents/Materials | Vendor | CAT# | LOT# |
| --- | --- | --- | --- |
| 96-Well Flat Clear Bottom White Polystyrene TC-Treated Microplate | Corning | 3610 | 00122007 |
| 96-Well Round Clear Bottom White Polystyrene TC-Treated Microplate | Corning | 3799 | 26220059 |
| CellTiter-Glo® Luminescent Cell Viability Assay | Promega | G7573 | 0000502065 |
| 0.25%Trypsin-EDTA | Gibco | 25200-072 | 2193366 |
| FBS | Gibco | 10099-141C | 2377222CP |
| DMSO | Sigma | D2650 | RNBH9424 |
| RPMI1640 | Gibco | C22400500BT | 8123028 |
| Waymouth's MB752/1 | Gibco | 11220-035 | 2337589 |
| P/S | Gibco | 15070-063 | 182167 |
| UltraComp eBeads | eBioscience | 01-2222-42 | 2495460 |
| Mouse BD Fc Block™ | BD Biosciences | 553141 | 1293775 |
| BSA | abstain | abs49001013b | #424 |
| PBS sterile | Cellmax | CBS101.05 | 20211102 |
| EDTA | Invitrogen™ | 15575020 | 2027365 |
| FACS Buffer: 1xPBS, 0.1%BSA, 2mM EDTA | - | - | - |
| Fix/Perm kit | eBioscience | 00-5523-00 | 2518974 |
| Annexin V Binding Buffer | Biolegend | 422201 | B341944 |

1.3. Test compound (from sponsor)

Table S7. Test compound supplied by sponsor

| Compound | Sample description | MW | Purity | Solvent | Storage |
| --- | --- | --- | --- | --- | --- |
| ZSSW2102001 (FNC) | Powder | 286.08 | 100% | DMSO | Powder: 4℃ After dissolved:-20℃ |

Note:

- The unused stock solution can be shipped back to the client (at the client's cost), disposed of per the client's permit, or be stored at Crownbio for six months after the delivery of the final report and will be disposed of after the 6-month grace period if there is no more request from the client.

Table S8. Reference control for IC50 assay

| Subject | Vendor | Solvent | Qty.(mg) | M.W. | Storage |
| --- | --- | --- | --- | --- | --- |
| Cisplatin | Qilu Pharma | PBS | 10 | 300.05 | RT |

2. Equipment

- Vi-Cell XR. (Beckman Coulter) (Equipment ID: TACEL0030)

- Envision 2104 Multilabel Reader, PerkinElmer, (USA) (Equipment ID: TAREA0011)

- CO2 Water Jacketed Incubator, SANYO Electric Co., Ltd. (Japan) (Equipment ID: TAINC0240)

- Reverse microscope, Chongguang XDS-1B, Chongqing Guangdian Corp. (Chongqing, P.R.China) (Equipment ID: TAMIC0130)

- FACS machine (Beckman CytoFLEX, Equip ID: TACYT0020)

- Centrifuge (Eppendorf 5920R, Equip ID: TACEN0820)

- Cell counter (Nexcelom Bioscience Cellometer® Auto T4, Equip ID: TAPUS0030)

Analysis Antibodies Information

Table S9. FACS Panel

| Marker | Fluorochrome | Clone | Cat# | Isotype | Vender | Positive cell | Volume/test | Lot# |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Calreticulin | PE-cy7 | D3E6 | 58473 | Rabbit IgG | CST | Jurkat | 2 uL | 1 |
| Annexin A1 | APC | 74/3 | 831604 | Mouse IgG1, κ | Biolegend | Jurkat | 2 uL | B377167 |
| Hsp70 | AF488 | W27 | 648004 | Mouse IgG2a, λ | Biolegend | Hela | 2 uL | B367703 |
| HSP90 | PE | C45G5 | 70657 | Rabbit IgG | CST | Hela | 2 uL | 3 |
| L/D | APC-eFluor780 | - | 65-0865-14 | - | eBiosciences | - | 1 uL | 2633407 |

Method

Part 1. IC50 determination

Day -1: Cell seeding

- Harvest tumor cells and count cells.

- Adjust cell concentration with the culture medium to the proper density (See table below).

Table S10. Cells proper density

| Cell line | CT26 |  | EMT6 |  | H22 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Incubation time | 24h | 48h | 24h | 48h | 24h | 48h |
| Seeding density/well | 4000 | 3000 | 3000 | 2000 | 3000 | 2000 |

- According to the plate map, add 90 µL cell suspensions to a 96-well plate.

Note: Each cell lines two plates for two different incubation time points.

- Culture the plates overnight in a humidified incubator at 37°C with 5% CO2.

Day 0: Compound treatment

- Prepare 3-fold, 9-point dilutions of the test compound in DMSO (work dilution-1), then prepare work dilution-2 by diluting work dilution-1 in a culture medium. Prepare work dilution-2 of Cisplatin in culture medium directly (Detailed information refer to Appendix 1).

- Dispense 10 µL test compound solution (10x) or Cisplatin (10x) separately to each well (triplicate for each concentration).

- Culture the plates in a humidified incubator at 37°C with 5% CO2 for the indicated time.

Day 1 (24 h) and 2 (48 h): Reading plate

- Determine the cell viability of assay plates using CTG assay as follows.

  - Equilibrate the plate and its contents at room temperature for approximately 30 min.

  - Add 50 µL of CellTiter-Glo® Reagent into the assay well.

  - Mix contents for 2 min on an orbital shaker to induce cell lysis.

  - Allow the plate to incubate at room temperature for 10 min to stabilize the luminescent signal.

  - Record luminescence using EnVision MultiLabel Reader.

Part 2. Co-culture

Day -1: Cell seeding and compound treatment

- Harvest tumor cells, count viable cells with Vi-Cell, and adjust cell density. Seed 1.8 mL cell solution/well to 6-well flat bottom tissue culture plate according to the plate map to make the cell confluence at 80-90% (at least 1M total cells) at the indicated endpoint, set duplicate for each treatment, the seeding density of each cell line show as below.

Table S11. Cells seeding density

| Cell line | CT26 |  | EMT6 |  | H22 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Incubation time | 24h | 48h | 24h | 48h | 24h | 48h |
| Seeding density/well | 0.5×10^6 | 0.25×10^6 | 0.5×10^6 | 0.25×10^6 | 1×10^6 | 0.3×10^6 |

Day 0: Compound treatment (in 6-well plate)

2）Prepare 1000x compound solution in DMSO, then 100-fold dilution with growth medium to make 10x compound solution. Add 0.2 mL of 10x drug solution into corresponding wells following the map; the final concentration is indicated in the plate map below.

- Add 0.2 mL 1%DMSO solution to the vehicle control wells, diluted in culture medium.

- Add 0.2 mL of culture medium to cell-only wells.

5）Incubate the cells in a humidified incubator at 37 ºC with 5% CO2 for indicated time points.

Table S12. Plate map

| Plate 1 | 1 | 2 | 3 | One cell line/24h |
| --- | --- | --- | --- | --- |
| A | 10 μΜ | 1 μΜ | 0.1 μΜ |  |
| B | 10 μΜ | 1 μΜ | 0.1 μΜ |  |
| Plate 2 | 1 | 2 | 3 |  |
| A | Vehicle | Cell only |  |  |
| B | Vehicle | Cell only |  |  |
| Plate 1 | 1 | 2 | 3 | One cell line/48h |
| A | 1 μΜ | 0.1 μΜ | 0.01 μΜ |  |
| B | 1 μΜ | 0.1 μΜ | 0.01 μΜ |  |
| Plate 2 | 1 | 2 | 3 |  |
| A | Vehicle | Cell only |  |  |
| B | Vehicle | Cell only |  |  |

Note: As shown above, there will be two sets of plates 1 and 2 for two different incubation times of one cell.

Day 1 (24h) and day 2(48h): Sample collection

6）Take one of the plates 1 and 2 out, centrifuge the plates at 1500rpm for 5 min, transfer 1 mL supernatant per well from each plate, and transfer the supernatant to the biomarker group for HMGB-1 detection by ELISA.

7）Remove the residual supernatant to a new plate, wash cells with PBS, dissociate cells with TrypLE and pool all cells together (in the supernatant, in the PBS washing solution and also the dissociated cells) from the same well, transfer cells to biomarker group for FACS analysis.

Analysis of HMGB1 by ELISA

Instruments

Table S13. Instruments

| Instrument Name | Brand | Model | Equip ID |
| --- | --- | --- | --- |
| Microplate reader | Tecan | INFINITEEPLEX | TAREA0050 |
| Freezing centrifuge | Eppendorf | 5424R | TACEN0610 |
| Plates shaker | IKA | MTS 2/4 | TAMIX0100 |
| Auto washer | BioTek | ELX405 | T00699 |

Reagents

Table S14. Reagents

| Reagent | Vendor | Cat. No. | Lot. No. | Expiration date |
| --- | --- | --- | --- | --- |
| HMGB1 Express ELISA | TECAN | 30164033 | EHMX123 | 10/31/2023 |

Reagent preparation

Bring all reagents to room temperature before use.

Wash Buffer

Add the wash buffer concentrate (200 mL) to 800 mL of deionized water and mix.

Colour solution

6 mL colrea A+6 mL colrea B, prepare immediately before needed.

Enzyme conjugate

One bottle Enzyme Conjugate+12 mL Enzyme Conjugate Diluent, mixing.

preparation of standard

Label 7 PS or PP tubes, one for each standard point: S7, S6, S5, S4. S3, S2, S1. Dispense a small amount of the concentrated standard (80ng/mL) into tube S7 Pipette 200 µL Diluent Buffer into tubes S6 - S1 and then prepare 1:2 serial dilutions for the standard curve as follows:

Table S15. Dilution method for standard

| Standard | Concentration | Dilution method |
| --- | --- | --- |
| 7 | 80 ng/mL | Use Standard as provided. |
| 6 | 40 ng/mL | Add 200 µL of Standard 7 to 200 µL of Diluent Buffer and mix. |
| 5 | 20 ng/mL | Add 200 µL of Standard 6 to 200 µL of Diluent Buffer and mix. |
| 4 | 10 ng/mL | Add 200 µL of Standard 5 to 200 µL of Diluent Buffer and mix. |
| 3 | 5 ng/mL | Add 200 µL of Standard 4 to 200 µL of Diluent Buffer and mix. |
| 2 | 2.5 ng/mL | Add 200 µL of Standard 3 to 200 µL of Diluent Buffer and mix. |
| 1 | 0 ng/mL | Use Diluent Buffer as provided. |

Dilution of samples, Standards and Control

10 µL Sample, Control or Standards+ 400 µL Diluent Buffer and mix.

Assay procedure

Bring all reagents and samples to room temperature before use.

- Prepare all reagents and samples as directed by the previous sections.

- Remove excess microplate strips from the plate frame, return them to the foil pouch containing the desiccant pack, and reseal.

- Pipette 100 µL of each prediluted Standard, Control and sample into the respective microtiter plate wells. Cover the plate with adhesive foil. Incubate for 2 hours at +37°C.

- Remove adhesive foil. Discard the incubation solution. Wash plate 5 x with 400 µL diluted Wash Buffer. Remove the excess solution by tapping the inverted plate on a paper towel.

- Pipette 100 µL Enzyme conjugate into each well. Cover the plate with adhesive foil. Incubate 1 hour at +25°C.

- Remove adhesive foil. Discard the incubation solution. Wash plate 5 x with 400 µL diluted Wash Buffer. Remove the excess solution by tapping the inverted plate on a paper towel.

- Pipette 100 µL premixed Colour solution into each well. In the dark, incubate 20 min at room temperature (18-25°C).

- Stop the color reaction by adding 100 µL of Stop solution into each well. Briefly mix contents by gently shaking the plate.

- Measure optical density with a photometer at 450 nm (Reference-wavelength: 600nm) within 60 min after pipetting the Stop Solution.

Calculation of Results

A four-parameter algorithm (4PL) provides the best fit, though other equations can be examined to see which provides the most accurate (e.g., linear, semi-log, log/log, four parameters logistic). Interpolate protein concentrations for unknown samples from the standard curve plotted.

Samples producing signals greater than that of the highest standard should be further diluted and reanalyzed, then multiplied by the concentration found by the appropriate dilution factor.

FACS assay

- Resuspend cells in 100 µL PBS with 1µL viability dye to each sample.

- Incubate in a 4-degree fridge for 10 minutes in dark

- Add 2 ml of wash buffer to each tube and resuspend the cells gently. Centrifuge the tubes at 300g for 5 minutes and discard the supernatant completely.

- Resuspend cells to each sample in 100 µL Annexin V Binding Buffer (cat # 422201) with 2 µL anti-annexin A1, calreticulin, Hsp70, and HSP90 antibodies.

- Stain for 30 minutes at 4 degrees in the dark.

- Add 2 ml of wash buffer to each tube and resuspend the cells gently. Centrifuge the tubes at 300g for 5 minutes and discard the supernatant.

- Repeat the wash step to wash the cell twice.

- Resuspend stained cells in 200 µL PBS and analyze them on the flow cytometer.

Data analysis

IC50 assay

Anti-cell viability IC50 will be calculated based on each cell line's percentage of control (POC) data. The POC of sample wells is calculated according to the below formula:

POC = (Reading value of sample average reading value of background wells)/(average value of vehicle control wells-average reading value of background wells) × 100%

FACS Data Transfer and Analysis

- Data should be transferred as raw FCS files using BD FACS Diva: Export>FCS Files (not Export>Experiment)

- Data will be uploaded to the cloud, including the single-color compensation controls, in the same folder

- Data will be analyzed by using Kaluza 2.0 or FlowJo 8.1.

- The analyzed data will be exported into PDF and Excel files.

Figure S1. Comprehensive Flow Cytometry Analysis of Cellular Subpopulations via Hierarchical Gating Strategy

(A) All cells showed a dominant red cluster (92.5%), separated by a black diagonal line to distinguish subpopulations; (B) Single Cells exhibited 96.3% purity with tight diagonal clustering, minimizing doublets; (C) Live Cells (92.4%) displayed concentrated red regions for viable cells; (D) CD4+ T cells formed a red cluster (33.7%), outlined by a black rectangle for subpopulation analysis; (E) CD8+ T cells (27.3%) showed a smaller red cluster, with a black rectangle delineating cytotoxic/memory subsets; (F) Regulatory T cells (Tregs, 19.5%) had a moderate red cluster and a black rectangle for FoxP3+ suppressive subsets; (G) CD11b+ cells (60.0%) dominated with a large red cluster, and a black rectangle isolated macrophages/monocytes/dendritic cells; (H) PBMC/MSC (6.74%) appeared as sparse red clusters, with a black rectangle highlighting MSCs; (I) Non-classical (NC) cells (17.1%) showed low-density red clusters, potentially marking NK cells via the black rectangle; (J) Ly6C/Ly6G granulocytes (63.1%) formed medium-density red clusters, with a black rectangle distinguishing neutrophils;