Appendices for:

Multi-objective sustainable design of reinforced concrete cylindrical tall structures by using metaheuristic algorithms

Melda YÜCEL*

Department of Civil Engineering, Istanbul Aydin University, Florya Halit Aydın Campus, Kucukcekmece-Istanbul 34295, Turkey

*Corresponding author. E-mail: meldayucel@aydin.edu.tr

Contents

Contents	1

Appendix A. Optimum design parameters and objective outputs for reinforced concrete wall structures	2

Appendix B. Optimization results for minimum CO2 emissions and total costs in wall structures	3

Appendix A. Optimum design parameters and objective outputs for reinforced concrete wall structures

| fc (MPa) | H (m) | r (m) | Unit cost for steel ($/t) | tw (m) | Vc (m3) | Ws (t) | s (mm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 10 | 20 | 727.900 | 0.529 | 664.761 | 9916.979 | 200 |
| 25 | 11 | 20 | 727.900 | 0.548 | 757.501 | 11931.365 | 140 |
| 25 | 12 | 20 | 727.900 | 0.551 | 830.888 | 13016.034 | 140 |
| 25 | 13 | 20 | 727.900 | 0.605 | 988.345 | 16115.090 | 160 |
| 25 | 14 | 20 | 727.900 | 0.661 | 1162.892 | 17571.646 | 200 |
| 25 | 15 | 20 | 727.900 | 0.794 | 1496.655 | 22778.060 | 100 |
| 25 | 16 | 20 | 727.900 | 0.796 | 1600.453 | 24296.597 | 100 |
| 25 | 17 | 20 | 727.900 | 0.820 | 1751.752 | 27094.602 | 70 |
| 25 | 18 | 20 | 727.900 | 0.879 | 1988.251 | 32274.452 | 140 |
| 25 | 19 | 20 | 727.900 | 0.932 | 2225.253 | 35329.236 | 60 |
| 25 | 20 | 20 | 727.900 | 1.107 | 2782.194 | 43386.781 | 70 |
| 30 | 10 | 20 | 727.900 | 0.437 | 549.150 | 9297.167 | 120 |
| 30 | 11 | 20 | 727.900 | 0.489 | 675.945 | 10439.944 | 160 |
| 30 | 12 | 20 | 727.900 | 0.543 | 818.825 | 13016.034 | 140 |
| 30 | 13 | 20 | 727.900 | 0.618 | 1009.582 | 16115.090 | 160 |
| 30 | 14 | 20 | 727.900 | 0.889 | 1564.010 | 25102.352 | 140 |
| 30 | 15 | 20 | 727.900 | 0.792 | 1492.885 | 23533.455 | 160 |
| 30 | 16 | 20 | 727.900 | 0.795 | 1598.442 | 24296.597 | 100 |
| 30 | 17 | 20 | 727.900 | 0.811 | 1732.526 | 26341.974 | 200 |
| 30 | 18 | 20 | 727.900 | 0.871 | 1970.156 | 30370.747 | 90 |
| 30 | 19 | 20 | 727.900 | 0.978 | 2335.083 | 35623.646 | 200 |
| 30 | 20 | 20 | 727.900 | 1.029 | 2586.159 | 43386.781 | 70 |
| 35 | 10 | 20 | 727.900 | 0.448 | 562.973 | 9297.167 | 120 |
| 35 | 11 | 20 | 727.900 | 0.513 | 709.120 | 10908.676 | 200 |
| 35 | 12 | 20 | 727.900 | 0.573 | 864.064 | 13387.921 | 100 |
| 35 | 13 | 20 | 727.900 | 0.629 | 1027.552 | 16115.090 | 160 |
| 35 | 14 | 20 | 727.900 | 0.670 | 1178.726 | 19524.051 | 80 |
| 35 | 15 | 20 | 727.900 | 0.712 | 1342.088 | 20707.327 | 110 |
| 35 | 16 | 20 | 727.900 | 0.814 | 1636.644 | 24792.446 | 200 |
| 35 | 17 | 20 | 727.900 | 0.811 | 1732.526 | 26341.974 | 200 |
| 35 | 18 | 20 | 727.900 | 0.930 | 2103.610 | 33469.802 | 60 |
| 35 | 19 | 20 | 727.900 | 0.925 | 2208.540 | 35329.236 | 60 |
| 35 | 20 | 20 | 727.900 | 1.006 | 2528.354 | 43386.781 | 70 |
| 40 | 10 | 20 | 727.900 | 0.448 | 562.973 | 9297.167 | 120 |
| 40 | 11 | 20 | 727.900 | 0.526 | 727.090 | 10908.676 | 200 |
| 40 | 12 | 20 | 727.900 | 0.554 | 835.412 | 13016.034 | 140 |
| 40 | 13 | 20 | 727.900 | 0.623 | 1017.750 | 16115.090 | 160 |
| 40 | 14 | 20 | 727.900 | 0.712 | 1252.616 | 19326.839 | 110 |
| 40 | 15 | 20 | 727.900 | 0.696 | 1311.929 | 20918.627 | 80 |
| 40 | 16 | 20 | 727.900 | 0.802 | 1612.517 | 24792.446 | 200 |
| 40 | 17 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 |
| 40 | 18 | 20 | 727.900 | 0.961 | 2173.731 | 34864.378 | 160 |
| 40 | 19 | 20 | 727.900 | 0.918 | 2191.826 | 34067.477 | 140 |
| 40 | 20 | 20 | 727.900 | 1.002 | 2518.301 | 43386.781 | 70 |
| 45 | 10 | 20 | 727.900 | 0.442 | 555.434 | 9297.167 | 120 |
| 45 | 11 | 20 | 727.900 | 0.490 | 677.327 | 10439.944 | 160 |
| 45 | 12 | 20 | 727.900 | 0.547 | 824.857 | 13016.034 | 140 |
| 45 | 13 | 20 | 727.900 | 0.619 | 1011.216 | 16115.090 | 160 |
| 45 | 14 | 20 | 727.900 | 0.716 | 1259.653 | 19326.839 | 110 |
| 45 | 15 | 20 | 727.900 | 0.795 | 1498.540 | 22778.060 | 100 |
| 45 | 16 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 |
| 45 | 17 | 20 | 727.900 | 0.850 | 1815.841 | 28683.483 | 90 |
| 45 | 18 | 20 | 727.900 | 0.862 | 1949.798 | 30370.747 | 90 |
| 45 | 19 | 20 | 727.900 | 0.950 | 2268.230 | 36065.262 | 80 |
| 45 | 20 | 20 | 727.900 | 0.965 | 2425.310 | 38738.197 | 160 |

Appendix B. Optimization results for minimum CO2 emissions and total costs in wall structures

| fc (MPa) | H (m) | r (m) | Unit cost for steel ($/t) | tw (m) | Vc (m3) | Ws (t) | s (mm) | w1 | w2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 10 | 20 | 727.900 | 0.440 | 552.920 | 9297.167 | 120 | 0.900 | 0.100 |
| 25 | 11 | 20 | 727.900 | 0.440 | 552.920 | 9297.167 | 120 | 0.700 | 0.300 |
| 25 | 12 | 20 | 727.900 | 0.440 | 552.920 | 9297.167 | 120 | 0.500 | 0.500 |
| 25 | 13 | 20 | 727.900 | 0.440 | 552.920 | 9297.167 | 120 | 0.300 | 0.700 |
| 25 | 14 | 20 | 727.900 | 0.440 | 552.920 | 9297.167 | 120 | 0.100 | 0.900 |
| 25 | 15 | 20 | 727.900 | 0.491 | 678.710 | 10439.944 | 160 | 0.900 | 0.100 |
| 25 | 16 | 20 | 727.900 | 0.502 | 693.915 | 10908.676 | 200 | 0.700 | 0.300 |
| 25 | 17 | 20 | 727.900 | 0.491 | 678.710 | 10439.944 | 160 | 0.500 | 0.500 |
| 25 | 18 | 20 | 727.900 | 0.491 | 678.710 | 10439.944 | 160 | 0.300 | 0.700 |
| 25 | 19 | 20 | 727.900 | 0.502 | 693.915 | 10908.676 | 200 | 0.100 | 0.900 |
| 25 | 20 | 20 | 727.900 | 0.544 | 820.333 | 13016.034 | 140 | 0.900 | 0.100 |
| 30 | 10 | 20 | 727.900 | 0.544 | 820.333 | 13016.034 | 140 | 0.700 | 0.300 |
| 30 | 11 | 20 | 727.900 | 0.544 | 820.333 | 13016.034 | 140 | 0.500 | 0.500 |
| 30 | 12 | 20 | 727.900 | 0.544 | 820.333 | 13016.034 | 140 | 0.300 | 0.700 |
| 30 | 13 | 20 | 727.900 | 0.544 | 820.333 | 13016.034 | 140 | 0.100 | 0.900 |
| 30 | 14 | 20 | 727.900 | 0.601 | 981.811 | 16115.090 | 160 | 0.900 | 0.100 |
| 30 | 15 | 20 | 727.900 | 0.601 | 981.811 | 16115.090 | 160 | 0.700 | 0.300 |
| 30 | 16 | 20 | 727.900 | 0.601 | 981.811 | 16115.090 | 160 | 0.500 | 0.500 |
| 30 | 17 | 20 | 727.900 | 0.601 | 981.811 | 16115.090 | 160 | 0.300 | 0.700 |
| 30 | 18 | 20 | 727.900 | 0.601 | 981.811 | 16115.090 | 160 | 0.100 | 0.900 |
| 30 | 19 | 20 | 727.900 | 0.651 | 1145.299 | 17354.712 | 90 | 0.900 | 0.100 |
| 30 | 20 | 20 | 727.900 | 0.651 | 1145.299 | 17354.712 | 90 | 0.700 | 0.300 |
| 35 | 10 | 20 | 727.900 | 0.651 | 1145.299 | 17354.712 | 90 | 0.500 | 0.500 |
| 35 | 11 | 20 | 727.900 | 0.651 | 1145.299 | 17354.712 | 90 | 0.300 | 0.700 |
| 35 | 12 | 20 | 727.900 | 0.709 | 1247.338 | 19326.839 | 110 | 0.100 | 0.900 |
| 35 | 13 | 20 | 727.900 | 0.709 | 1336.434 | 20707.327 | 110 | 0.900 | 0.100 |
| 35 | 14 | 20 | 727.900 | 0.709 | 1336.434 | 20707.327 | 110 | 0.700 | 0.300 |
| 35 | 15 | 20 | 727.900 | 0.709 | 1336.434 | 20707.327 | 110 | 0.500 | 0.500 |
| 35 | 16 | 20 | 727.900 | 0.709 | 1336.434 | 20707.327 | 110 | 0.300 | 0.700 |
| 35 | 17 | 20 | 727.900 | 0.709 | 1336.434 | 20707.327 | 110 | 0.100 | 0.900 |
| 35 | 18 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 | 0.900 | 0.100 |
| 35 | 19 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 | 0.700 | 0.300 |
| 35 | 20 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 | 0.500 | 0.500 |
| 40 | 10 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 | 0.300 | 0.700 |
| 40 | 11 | 20 | 727.900 | 0.794 | 1596.432 | 24296.597 | 100 | 0.100 | 0.900 |
| 40 | 12 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 | 0.900 | 0.100 |
| 40 | 13 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 | 0.700 | 0.300 |
| 40 | 14 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 | 0.500 | 0.500 |
| 40 | 15 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 | 0.300 | 0.700 |
| 40 | 16 | 20 | 727.900 | 0.816 | 1743.207 | 27094.602 | 70 | 0.100 | 0.900 |
| 40 | 17 | 20 | 727.900 | 0.872 | 1972.418 | 30370.747 | 90 | 0.900 | 0.100 |
| 40 | 18 | 20 | 727.900 | 0.872 | 1972.418 | 30370.747 | 90 | 0.700 | 0.300 |
| 40 | 19 | 20 | 727.900 | 0.872 | 1972.418 | 30370.747 | 90 | 0.500 | 0.500 |
| 40 | 20 | 20 | 727.900 | 0.872 | 1972.418 | 30370.747 | 90 | 0.300 | 0.700 |
| 45 | 10 | 20 | 727.900 | 0.872 | 1972.418 | 30370.747 | 90 | 0.100 | 0.900 |
| 45 | 11 | 20 | 727.900 | 0.929 | 2218.090 | 35329.236 | 60 | 0.900 | 0.100 |
| 45 | 12 | 20 | 727.900 | 0.973 | 2323.145 | 35623.646 | 200 | 0.700 | 0.300 |
| 45 | 13 | 20 | 727.900 | 0.929 | 2218.090 | 35329.236 | 60 | 0.500 | 0.500 |
| 45 | 14 | 20 | 727.900 | 0.929 | 2218.090 | 35329.236 | 60 | 0.300 | 0.700 |
| 45 | 15 | 20 | 727.900 | 0.929 | 2218.090 | 35329.236 | 60 | 0.100 | 0.900 |
| 45 | 16 | 20 | 727.900 | 1.031 | 2591.186 | 39667.914 | 100 | 0.900 | 0.100 |
| 45 | 17 | 20 | 727.900 | 1.031 | 2591.186 | 39667.914 | 100 | 0.700 | 0.300 |
| 45 | 18 | 20 | 727.900 | 1.031 | 2591.186 | 39667.914 | 100 | 0.500 | 0.500 |
| 45 | 19 | 20 | 727.900 | 1.031 | 2591.186 | 39667.914 | 100 | 0.300 | 0.700 |
| 45 | 20 | 20 | 727.900 | 0.992 | 2493.168 | 43386.781 | 70 | 0.100 | 0.900 |